## Slide 1
How Sewage Treatment Plants Work
An overview of the essential processes involved in treating wastewater.
Better ask ERNI
1

## Slide 2
Presentation Roadmap
This presentation covers the following topics: Introduction, Primary Treatment, Secondary Treatment, Tertiary Treatment, and Conclusion.
Better ask ERNI
2

## Slide 3
Introduction to Sewage Treatment
Sewage treatment is crucial for maintaining water quality and public health. It involves a series of processes to remove contaminants from wastewater. Effective treatment ensures that water is safe for discharge or reuse, preventing environmental pollution and protecting ecosystems.
Better ask ERNI
3

## Slide 4
Primary Treatment
The primary treatment stage focuses on removing solid waste from sewage. This is achieved through screening, which captures large debris, and sedimentation, where solids settle at the bottom of treatment tanks. This process significantly reduces the load of pollutants entering subsequent treatment stages.
Better ask ERNI
4

## Slide 5
Secondary Treatment
During secondary treatment, biological processes are employed to break down organic matter. Microorganisms consume organic pollutants, converting them into carbon dioxide, water, and energy. This stage is vital for reducing the biochemical oxygen demand (BOD) of the wastewater.
Better ask ERNI
5

## Slide 6
Tertiary Treatment
Tertiary treatment involves advanced filtration and chemical processes to remove remaining impurities. This stage often includes disinfection to eliminate pathogens, ensuring the treated water is safe for discharge or reuse. Tertiary treatment enhances water quality and reduces environmental impact.
Better ask ERNI
6

## Slide 7
Complete Treatment Process
1
Raw Sewage
Collection and initial screening of wastewater.
2
Primary Treatment
Separation of solids through sedimentation.
3
Secondary Treatment
Biological degradation of organic matter.
4
Tertiary Treatment
Advanced filtration and disinfection.
Better ask ERNI
7

## Slide 8
Performance Metrics
95%
Treatment Efficiency
$0.50/m³
Cost per Cubic Meter
99%
Pathogen Removal
0.1 mg/L
Residual Chlorine
Better ask ERNI
8

## Slide 9
Future of Sewage Treatment
Innovations in sewage treatment are focusing on energy efficiency and resource recovery. Emerging technologies include membrane bioreactors, advanced oxidation processes, and nutrient recovery systems. These advancements aim to enhance sustainability and reduce the environmental footprint of wastewater management.
Better ask ERNI
9

## Slide 10
Conclusion and Q&A
Effective sewage treatment is essential for environmental protection and public health. By understanding and improving treatment processes, we can ensure safe water management. Thank you for your attention. Please feel free to ask any questions.